## PV Tech Potential MWh
Units | MWh/year
PV_Sectors | MWh_FractSales | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Residential | MWh | 71353573.3925 | 72244379.4214 | 73121104.5049 | 73986806.7063 | 74845717.1228 | 75701355.9905 | 76551749.7061 | 77408072.181 | 78281613.154 | 79187120.1441
Residential | Fraction of Sales | 1.0319 | 1.0312 | 1.0294 | 1.0234 | 1.0156 | 1.0074 | 0.99725 | 0.98395 | 0.96841 | 0.95108
NonResidential | MWh | 18925957.8424 | 19131329.2693 | 19325876.2264 | 19513863.746 | 19688373.671 | 19858502.0966 | 20025828.3193 | 20190748.3279 | 20352293.1145 | 20509039.4488
NonResidential | Fraction of Sales | 0.33554 | 0.33665 | 0.33771 | 0.33826 | 0.33866 | 0.33975 | 0.34094 | 0.34183 | 0.34273 | 0.34339

## PV Tech Potl MW-AC Impact
Units | MW-AC in Peak Hour
PV_Sectors | Season | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Residential | Winter | 1437.6138 | 1455.302 | 1472.7106 | 1489.9003 | 1506.9551 | 1523.945 | 1540.8308 | 1557.8342 | 1575.1796 | 1593.1597
Residential | Summer | 9141.7574 | 9254.2363 | 9364.9371 | 9474.2462 | 9582.6977 | 9690.7361 | 9798.1122 | 9906.2369 | 10016.5358 | 10130.8708
NonResidential | Winter | 196.484 | 198.6054 | 200.615 | 202.5568 | 204.3594 | 206.1167 | 207.8451 | 209.5487 | 211.2174 | 212.8365
NonResidential | Summer | 2698.5591 | 2727.6948 | 2755.2948 | 2781.9643 | 2806.7217 | 2830.8575 | 2854.5958 | 2877.9927 | 2900.9108 | 2923.1481

## Storage Tech Potl MW-AC Impact
Units: | MW-AC in Peak Hour
Note: Grid Impact output for "Technical" potential uses a dispatch profile that simply flattens each sector's loadshape to the greatest extent possible with the storage sizing assumption. Actual dispatch would depend on the electric rate structure and customer economic, which is not yet as part of the technical potential analysis (accounted for in economic/acheivable analysis). Thus, these values should be used with caution, as customer economic dispatch would likely be different, which affects potential, economics, and cost-effectiveness.
BESS_Sectors | BESS_Types | Season | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Residential | Paired Storage | Winter | 5521.6692 | 5591.4463 | 5660.0754 | 5727.6238 | 5794.3428 | 5860.5655 | 5926.558 | 5992.1299 | 6058.2391 | 6125.7486
Residential | Paired Storage | Summer | 1463.7822 | 1481.9684 | 1499.8628 | 1517.5114 | 1534.9928 | 1552.3845 | 1569.6864 | 1587.0246 | 1604.6368 | 1622.7959
Residential | Storage Only | Winter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Storage Only | Summer | 3202.7828 | 3230.8803 | 3275.0112 | 3328.9943 | 3391.8819 | 3458.1588 | 3530.4708 | 3614.4106 | 3710.6993 | 3819.0067
NonResidential | Paired Storage | Winter | 1013.0204 | 1024.4723 | 1035.4865 | 1045.9051 | 1055.9928 | 1065.3194 | 1074.458 | 1083.4493 | 1092.3127 | 1100.9896
NonResidential | Paired Storage | Summer | 379.2364 | 383.4005 | 387.3676 | 391.1705 | 394.7571 | 398.185 | 401.5518 | 404.868 | 408.1239 | 411.2935
NonResidential | Storage Only | Winter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NonResidential | Storage Only | Summer | 1772.8275 | 1781.6862 | 1794.4759 | 1808.3431 | 1822.5636 | 1833.8269 | 1843.1339 | 1853.0313 | 1863.1124 | 1873.6026